Project – Build and Test a Solar Hot Water Collector with an In-Tank Heat Exchanger

It will be your team’s job to construct and test the effect a heat exchanger has on your previous solar hot water collector system. The objective is to find what the efficiency of this collector system is and how it operates with an in-tank heat exchanger.

The materials that will be used to construct the heat exchanger include:

- Flexible Pex tubing

- Pex T (2)

- Black background

- Insulation rigid Styrofoam

- Glass cover

- Wooden box to house the collector

- Wooden support to angle the box

- 2 Metal absorbers (AC condensing unit from vehicle)

- Container to house water with an open top.

- Wooden platform to hold container

The testing apparatus includes:

- Measuring cup / pail

- Two digital thermometers

- Handheld pyranometer

- Stopwatch

INSTRUCTIONS

You have two weeks to research how in-tank heat exchangers work and install one. During the 2-hour laboratory classes you will add the heat exchanger to the inside of the tank. You will test the efficiency of this setup.

Week 1

You have this week to research how in-tank heat exchangers work. During the 2-hour laboratory class take measurements of the metal absorber and how it fits inside the storage tank, and the sketch system.

Explain the expected outcome from the design. Follow the sketching principles you have learned in drawing class. Your sketch should have a border and a title block. This sketch is to be kept clean and is to be attached to your final report.

Also, you will need to design a method for testing this in-tank heat exchanger.

You will be expected to explain any assumptions and the actual performance of the heat exchanger. The heat exchanger is not direct and might take more time to raise the tank water temperature.

Week 2

With the in-tank heat exchanger in the tank, add enough water to just cover the heat exchanger. Temperature measurements will be the same as the last lab / project. The idea is to see how long the tank water heats up, does it get as hot and did it deliver the same amount of energy as last time.

Begin measuring & testing:

- Add water to the storage tank to have it just cover the heat exchanger. Measure this amount of water. Record the water temperature at the top and bottom of the tank, they should be the same.

- Take the handheld pyranometer outside along with the stopwatch. Record the irradiance every minute.  Each minute record all of the water temperatures. Do this for at least 60 minutes.

- At the end of 60 minutes use the recorded readings to calculate the efficiency of the collector and of the heat exchanger.

- The Energy that the water receives is calculated with Q=MxCx(ΔT) this is unit of energy in Joules. The irradiance recorded is in Watts per meter squared.

- This time, there are two energy measurements to make. The first Q to measure is of the solar collector energy in Joules, M = mass of the water in the solar collector only, C = 4186J/liter for water, ΔT is the difference in water temperature at the top and bottom of the collector for each reading. The top and bottom temperatures should be different. This is the energy of the system collected from the sun.

- The second Q to measure is in the tank. This is the energy given by the collector to the heat exchanger then the heat exchanger to the tank water. This energy is in Joules, M = mass of the water in the tank only, C = 4186J/liter for water, ΔT is the difference in water temperature from one reading to another. It is the average of the top and bottom tank temperatures. The top and bottom temperatures should be different in the tank. The average is used because total energy is spread over all the tank water. Explain why there is a difference.

- The area of the solar collector divided by 1 square meter is the multiplier for how many watts were hitting the Solar collector.

- The Wattage is Joules per second, by taking the average irradiance and dividing it by the seconds for each minute it will result in Joules. Delivered to an area of 1 square meter.

- Take the multiplier and apply it to the joules calculated from the irradiance. This is the amount of Joules that were exposed to the solar collector.

- Efficiency is Q out / Q in expressed as a fraction. The solar collector is the only source of energy gain (Q in), it however heats up the larger mass of the water in the tank (Q out) as an end result.

- Repeat steps 1 – 8, this time filling the storage tank to ½ capacity (may need more time).

- Repeat steps 1 – 8, this time filling the storage tank to 3/4 capacity (may need more time).

- Repeat steps 1 – 8, this time putting the filling in the storage tank to full capacity (may need more time).

Week 3

This week is to use the comprehensive set of data collected. Explaining how the in-tank heat exchanger affects the performance of the solar collector with storage system.

FINAL REPORT

The form of the report is an extended lab report. You will state the objective and you will write a procedure that describes what your group did with the data collected and the performance of the solar hot water collector system and how you tested it. Explain the effect of adding the heat exchanger to the system. Follow the traditional instructions for the rest of your lab report.

Tabulate your data.

In the discussion:

- Explain with data collected and calculations and how each the storage tank water volume affected the performance of the solar collector system.

- What would you do to improve the solar collector system?

- Indicate ways that the process for this project / lab could be improved.